MAURITIUS PORTS AUTHORITY

Issue: 01

Revision Date: 28.08.19 2828.8.19

PES 09

# HOT WORK IN OPERATIONAL AREA ASHORE

Ref No: ……………………………………………………….

1.	APPLICATION

[Name of Applicant]			I, Mr/Mrs ……………………………………………………………………………………………………………

[Company of Applicant]			representing ………………………………………………………………………………………………………

[Address of Company]			of ……………………………………………………………………………………………………………………….

e-mail ………………………………………………	Phone ……………………………………….

Fax No. …………………………………………		Mobile ……………………………………….

[Port Lessee/Licensee]			Contractor for ………………………………………………………………………………………………………

hereby submit an application to carry out hot-work under the following conditions:

2.	CONDITIONS

Location:		………………………………………………………………………………………………………………………………………………………………

Name of Subcontractor(s)……………………………………………………………………………………………………………………………………………………………….

I confirm that:

aa.	My employee and those of my subcontractors are fully aware of the risks involved of the precautions to be taken before, during and after hot works. They are properly trained to carry out such works in a safe manner so as to cause no damage to life and property.

bb.	I hold myself accountable in respect of any damage to port installations, services, life, property and the environment resulting from my activities and shall be bound by national law relating to such activities.

cc.	No material shall be dumped but shall be safely disposed at an approved waste disposal site.

dd.	A request for inspection 2 hours before commencement and immediately upon completion of works shall be made to the Fire Station Control Room. (Tel 240-3741).

ee.	Fire Station Control Room (Tel: 240 3741) will be informed on a daily basis of the starting time of hot works as well as completion time on effective completion for the day.

ff.	The accompanying "HOT WORK PERMIT" shall be filled, signed and shall remain on site during the period of validity of the permit.

gg.	On completion of works the accompanying "HOT WORK PERMIT" shall be signed and a copy remitted to the Attending Fire Brigade Officer.

hh.	Access to the Company shall be granted to representatives of the Authority for inspection purposes and their instructions followed without prejudice to the authority.

ii.	If any of the conditions mentioned or as set out in the accompanying "HOT WORK PERMIT" change, hot woks shall immediately cease. Fire Station Control Room shall be advised or a fresh application made.

jj.	I have read, understood and agreed with all conditions mentioned above and as set out in the "HOT WORK PERMIT". I agree to pay fees amounting to 800.00MUR.

Signature of applicant ……………………………………………………………….		Date ………………………………………………………….

3.	PERMISSION

1.	Granted subject to "HOT WORK PERMIT" validation

11.	Refused

111.	Remarks ………………………………………………………………………………………………………………………………………………………………….

IV.	Validity of Hot Work Permit from……………………………………………….…………. to….………………………………………………….

………………………………………………………………………………..

Manager, Port Emergency Services						Date …………………………………………………………

MAURITIUS PORTS AUTHORITY

PES 09

Issue: 01

Revision Date: 28.8.19 2828.8.19

## HOT WORK PERMIT FOR OPERATIONAL AREA ASHORE

Ref No: ……………………………………………………………

Relating to any work involving temperature conditions, which are likely to be of sufficient intensity to cause ignition of combustible gases, vapours or liquids in or adjacent to the area involved. (See notes at back)

#### GENERAL

The permit is valid		From:……………………………..Hrs		Date: ……………………………………………..

To: ………………………………..	Hrs		Date: ……………………………………………..

Location of work……………………………..……………………………..……………………………..……………………………..………………………………………………..

Nature of work.……..……………………………..……………………………..……………………………..……………………………..…………………………………………..

Description of work……………………………..……………………………..……………………………..……………………………..…………………………………………….

Scope of work………..……………………………..……………………………..……………………………..……………………………..………………………………………….

Has enclosed space entry permit been issued? 								Yes/No

Personnel carrying out work……………………………..………………………..……………………………..…………………………………………………………………..

……………………………..……………………………..……………………………..……………………………..……………………………..…………………………………………….

Responsible person in attendance……………………………..……………………………..……………………………..…………………………………………………...

#### SECTION 1

1.1	Has the work area been checked with a combustible gas indicator for hydrocarbon vapours?		 	Yes/No

Time: ……………………………..

1.2	Has the surrounding area been made safe? 								 Yes/No

Time……………………………..

#### SECTION 2

2.1	Has the work area been checked with a combustible gas indicator for hydrocarbon vapours? 		Yes/No

2.2	Has the equipment or pipeline been purged? 								Yes/No

2.3	Has the equipment or pipeline been blanked? 								Yes/No

2.4	Is this equipment or pipeline free of liquid? 								Yes/No

2.5	Is the surrounding area safe? 									Yes/No

2.6	Is additional fire protection available? 								Yes/No

2.7	Is the equipment isolated electrically? 								Yes/No

2.8	Has hot work equipment been checked to be safe before use?						Yes/No

2.9	Special conditions/precautions									Yes/No

……………………………..……………………………..……………………………..……………………………..……………………………..…………………………………………….

……………………………..……………………………..……………………………..……………………………..……………………………..…………………………………………….

In the circumstances noted it is safe to proceed with this work

Signed: ……………………………..…………………………….. Master/Responsible Officer

……………………………..…………………………….. Person in Charge of work team

#### SECTION 3

The work has been completed and all persons under my supervision, materials and equipment have been withdrawn.

Authorised person in charge ……………………………..…………………….. Time: ………………………..…………..Date: ………………………………………

First copy for display at work area & Second copy for Fire Brigade

##### HOT WORK PERMIT

GENERAL	(a)	Starting/finishing time must not exceed the Authorised Signatories/Responsible Officer’s working hours.

(b)	Specific location of work to be given

(c)	Description of work to include type of equipment to be used.

SECTION 1	Applies to all hazardous work not involving naked flame or continuous spark production and would include use of electrical equipment, use of air driven rotary equipment/materials over operating plant.

SECTION 2	Applies to all hot work involving high temperatures, open flame or continuous source of sparks, etc. This type of work includes but is not limited to:

Welding or burning

Grinding

Sand or grit blasting

Metal chipping

Tests for combustible gas should be carried out immediately before commencement of hot work and at frequent intervals as long as the work is in progress.